## Checklist
IAS/TL/040b, 04/16/2020
IAS Scope Expansion Request Checklist
No
Test Method: |  | Yes | Test Standard | Yes; purchased from an Approved Vendor
Test Method Title: |  | N/A | SOP (Attached) | Utilizing existing equipment
Exclusions: |  |  | Select | Select
1. Have you completed the technical equivalency matrix?
2. Have you identified key personnel for this testing?
3. Will testing be done directly from Standard, or following an SOP?
4. Have all key personnel been trained?
5. Are their training records up to date and copies attached?
6. Was any new equipment obtained for this testing?
7. Is all required equipment properly calibrated?
8. Are current calibration certificates attached?
9. Has photographic evidence been provided?
10. Have you identified any exclusions from the standard (above)?
11. Is there any other information you feel the assessor needs in order to grant this scope expansion?
Comments:

## Technical Equivalency Matrix
Technical Equivalency Matrix
Test Method:
Test Method Title:
Exclusions: | EMC and Vibration Testing
Test Method Section (& Title if available) | Current Test Method & Section (already on scope) | Additional Comments, such as similarities or direct references (if needed)
IEC/EN/KN/UL/CSA-C22.2 No. 61010-1 - Safety Requirements for Electrical Equipment For Measurement, Control, and Laboratory Use; Part 1: General Requirements | IEC/EN/KN/UL/CSA-C22.2 No. 61010-1 - Safety Requirements for Electrical Equipment For Measurement, Control, and Laboratory Use; Part 1: General Requirements | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
IEC/EN/KN/UL/CSA-C22.2 No. 62368-1 - Audio/video, information and communication technology equipment - Part 1: Safety requirements | IEC/EN/KN/UL/CSA-C22.2 No. 62368-1 - Audio/video, information and communication technology equipment - Part 1: Safety requirements | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
IEC/EN/KN/UL/CSA-C22.2 No. 60601-1 Medical Electrical Equipment, Part 1: General Requirements for Safety | IEC/EN/KN/UL/CSA-C22.2 No. 60601-1 Medical Electrical Equipment, Part 1: General Requirements for Safety | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
IEC/EN/KN/UL/CSA-C22.2 No. 60601-1-6 | IEC/EN/KN/UL/CSA-C22.2 No. 60601-1-6 | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
IEC/EN/KN/UL/CSA-C22.2 No. 60601-1-8 | IEC/EN/KN/UL/CSA-C22.2 No. 60601-1-8 | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
ANSI/AAMI ES60601-1 Medical Electrical Equipment, Part 1: General | ANSI/AAMI ES60601-1 Medical Electrical Equipment, Part 1: General | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
IEC/EN/KN/UL/CSA-C22.2 No. 60335-1 Standard for Safety of Household and Similar Appliances, Part 1: General Requirements | IEC/EN/KN/UL/CSA-C22.2 No. 60335-1 Standard for Safety of Household and Similar Appliances, Part 1: General Requirements | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
IEC/EN/KN/UL/CSA-C22.2 No. 60529 Degrees of protection provided by enclosures (IP Code) | IEC/EN/KN/UL/CSA-C22.2 No. 60529 Degrees of protection provided by enclosures (IP Code) | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
IEC/EN/KN/UL/CSA-C22.2 No. 60079-0 Explosive Atmospheres - Part 0: Equipment - General Requirements | IEC/EN/KN/UL/CSA-C22.2 No. 60079-0 Explosive Atmospheres - Part 0: Equipment - General Requirements | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
IEC/EN/KN/UL/CSA-C22.2 No. 60079-1 Standard for Explosive Atmospheres - Part 1: Equipment Protection by Flameproof Enclosures | IEC/EN/KN/UL/CSA-C22.2 No. 60079-1 Standard for Explosive Atmospheres - Part 1: Equipment Protection by Flameproof Enclosures | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
IEC/EN/KN/UL/CSA-C22.2 No. 60079-7 Explosive Atmospheres - Part 7: Equipment protection by increased safety 'e' | IEC/EN/KN/UL/CSA-C22.2 No. 60079-7 Explosive Atmospheres - Part 7: Equipment protection by increased safety 'e' | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
IEC/EN/KN/UL/CSA-C22.2 No. 60079-11 Explosive Atmospheres - Part 11: Equipment Protection by Intrinsic Safety | IEC/EN/KN/UL/CSA-C22.2 No. 60079-11 Explosive Atmospheres - Part 11: Equipment Protection by Intrinsic Safety | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
IEC/EN/KN/UL/CSA-C22.2 No. 60079-18 Explosive Atmospheres - Part 18: Equipment Protection by Encapsulation | IEC/EN/KN/UL/CSA-C22.2 No. 60079-18 Explosive Atmospheres - Part 18: Equipment Protection by Encapsulation | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
IEC/EN/KN/UL/CSA-C22.2 No. 60079-30-1 Explosive Atmospheres - Part 30-1: Electrical Resistance Trace Heating - General and Testing Requirements | IEC/EN/KN/UL/CSA-C22.2 No. 60079-30-1 Explosive Atmospheres - Part 30-1: Electrical Resistance Trace Heating - General and Testing Requirements | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
IEC/EN/KN/UL/CSA-C22.2 No. 60079-46 Recommended Practice for Explosive Atmospheres - Part 46: Equipment Assemblies | IEC/EN/KN/UL/CSA-C22.2 No. 60079-46 Recommended Practice for Explosive Atmospheres - Part 46: Equipment Assemblies | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
IEC/EN/KN/UL/CSA-C22.2 No. 60079-31 Explosive atmospheres - Part 31: Equipment dust ignition protection by enclosure "t" | IEC/EN/KN/UL/CSA-C22.2 No. 60079-31 Explosive atmospheres - Part 31: Equipment dust ignition protection by enclosure "t" | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
IEC/EN/KN/UL/CSA-C22.2 No. 60730-1 Automatic Electrical Controls for Household and Similar Use - Part 1: General Requirements | IEC/EN/KN/UL/CSA-C22.2 No. 60730-1 Automatic Electrical Controls for Household and Similar Use - Part 1: General Requirements | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
IEC/EN/KN/UL/CSA-C22.2 No. 60730-2-5/ANSI Z21.20 Automatic Electrical Controls - Part 2-5: Particular Requirements for Automatic Electrical Burner Control Systems | IEC/EN/KN/UL/CSA-C22.2 No. 60730-2-5/ANSI Z21.20 Automatic Electrical Controls - Part 2-5: Particular Requirements for Automatic Electrical Burner Control Systems | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
UL 1598/CSA-C22.2 No. 250.0 - Luminaires | UL 1598/CSA-C22.2 No. 250.0 - Luminaires | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
UL 8750 Light Emitting Diode (LED) Equipment for Use in Lighting Products | UL 8750 Light Emitting Diode (LED) Equipment for Use in Lighting Products | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
CSA-C22.2 No. 250.13 Light emitting diode (LED) equipment for lighting applications | CSA-C22.2 No. 250.13 Light emitting diode (LED) equipment for lighting applications | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
CSA-C22.2 No. 250.5/UL 1576 Flashlights and lanterns (Binational standard with UL 1576) | CSA-C22.2 No. 250.5/UL 1576 Flashlights and lanterns (Binational standard with UL 1576) | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
CSA-C22.2 No. 250.4 Portable luminaires | CSA-C22.2 No. 250.4 Portable luminaires | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
CSA-C22.2 No. 250.7 Extra-low-voltage landscape lighting systems | CSA-C22.2 No. 250.7 Extra-low-voltage landscape lighting systems | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
UL 153 Portable Electric Luminaires | UL 153 Portable Electric Luminaires | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
UL 1576 Flashlights and Lanterns | UL 1576 Flashlights and Lanterns | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
CSA-C22.2 No. 130 Requirements for electrical resistance trace heating and heating device sets | CSA-C22.2 No. 130 Requirements for electrical resistance trace heating and heating device sets | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
UL 515 - Standard for Electrical Resistance Trace Heating for Commercial Applications | UL 515 - Standard for Electrical Resistance Trace Heating for Commercial Applications | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
UL 515A UL LLC Outline of Investigation for Electrical Resistance Trace Heating and Associated Controls for Use In Sprinkler and Standpipe Systems | UL 515A UL LLC Outline of Investigation for Electrical Resistance Trace Heating and Associated Controls for Use In Sprinkler and Standpipe Systems | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
CSA-C22.2 No. 218.1 Spas, hot tubs and associated equipment | CSA-C22.2 No. 218.1 Spas, hot tubs and associated equipment | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
UL 1563 Electric Spas, Equipment Assemblies, and Associated Equipment | UL 1563 Electric Spas, Equipment Assemblies, and Associated Equipment | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
CSA-C22.2 No. 218.2 Hydromassage bathtub appliances | CSA-C22.2 No. 218.2 Hydromassage bathtub appliances | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
UL 1795 - Standard for Hydromassage Bathtubs | UL 1795 - Standard for Hydromassage Bathtubs | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
CSA-C22.2 No. 213/UL 121201 | CSA-C22.2 No. 213/UL 121201 | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
CSA-C22.2 No. 100 Motors and generators | CSA-C22.2 No. 100 Motors and generators | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
UL 1004-1 Rotating Electrical Machines - General Requirements | UL 1004-1 Rotating Electrical Machines - General Requirements | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
UL 1004-4 Electric Generators | UL 1004-4 Electric Generators | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
CSA-C22.2 No. 286 Industrial control panels and assemblies | CSA-C22.2 No. 286 Industrial control panels and assemblies | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
UL 508A - Industrial Control Panels | UL 508A - Industrial Control Panels | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
UL 50E/CSA-C22.2 No. 94.2 Enclosures for Electrical Equipment, Environmental Considerations | UL 50E/CSA-C22.2 No. 94.2 Enclosures for Electrical Equipment, Environmental Considerations | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
UL 50/CSA-C22.2 No. 94.1 Enclosures for Electrical Equipment, Non-Environmental Considerations | UL 50/CSA-C22.2 No. 94.1 Enclosures for Electrical Equipment, Non-Environmental Considerations | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
IEC 60092-504 Electrical installations in ships - Part 504: Automation, control and instrumentation | IEC 60092-504 Electrical installations in ships - Part 504: Automation, control and instrumentation | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
MIL-STD-810 - Minus vibration | MIL-STD-810 - Minus vibration | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
IEC 60945 - Maritime navigation and radiocommunication equipment and systems - General requirements - Methods of testing and required test results | IEC 60945 - Maritime navigation and radiocommunication equipment and systems - General requirements - Methods of testing and required test results | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
ABS - Part 4 "Vessel Systems and Machinery" | ABS - Part 4 "Vessel Systems and Machinery" | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
BV - Pt C, Ch 3, Sec 6 | BV - Pt C, Ch 3, Sec 6 | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
China Classification Society (CCS) - Guidelines for type Approval Test of Electric and Electronic products | China Classification Society (CCS) - Guidelines for type Approval Test of Electric and Electronic products | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
ClassNK - Guildance for the Approval and Type Approval of Materials and Equipment for Marine Use (Part 7, Chapter 1) | ClassNK - Guildance for the Approval and Type Approval of Materials and Equipment for Marine Use (Part 7, Chapter 1) | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
DNV-CP-0339 Environmental test specification for electrical, electronic and programmable equipment and systems | DNV-CP-0339 Environmental test specification for electrical, electronic and programmable equipment and systems | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
Germanischer Lloyd, VI, Rules for Classification and Construction Additional Rules Guidelines, 7 Guidelines for the Performance of Type Approvals | Germanischer Lloyd, VI, Rules for Classification and Construction Additional Rules Guidelines, 7 Guidelines for the Performance of Type Approvals | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
IACS - URE-10Rev8 Test Spepcification for Type Approval | IACS - URE-10Rev8 Test Spepcification for Type Approval | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
Russian Maritime Register of Shipping - Rules for the Classification and Construction of Sea-Going Ships, Part XI, Electrical Equipment | Russian Maritime Register of Shipping - Rules for the Classification and Construction of Sea-Going Ships, Part XI, Electrical Equipment | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
KR Korean Registered - Guidance for Approval of Manufacturing Process and Type Approval, Etc. | KR Korean Registered - Guidance for Approval of Manufacturing Process and Type Approval, Etc. | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
Indian Register of Shipping - Type Approval of Electrical Equipment used for Control, Monitoring, Alarm and Protection Systems for Use in Ships | Indian Register of Shipping - Type Approval of Electrical Equipment used for Control, Monitoring, Alarm and Protection Systems for Use in Ships | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
Lloyd's Register Type Approval System Test Specification Number 1 - performance and Environmental Test Specification for the following Environmentally Tested Products used in Marine Applications | Lloyd's Register Type Approval System Test Specification Number 1 - performance and Environmental Test Specification for the following Environmentally Tested Products used in Marine Applications | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
PRS - Pubmication 11/P - Environmental Tests on Marine Equipment | PRS - Pubmication 11/P - Environmental Tests on Marine Equipment | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
RINA - Pt C, Ch 3, Sec 6 | RINA - Pt C, Ch 3, Sec 6 | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
USCG - Subchapter J- Electrical Engineering | USCG - Subchapter J- Electrical Engineering | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
IEC 60068-2-2 "Test Bb and Be" | IEC 60068-2-2 "Test Bb and Be" | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
IEC 600682-30 - test Db | IEC 600682-30 - test Db | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
IEC 60092-504 - Incline | IEC 60092-504 - Incline | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
IEC 60068-2-1 - Cold | IEC 60068-2-1 - Cold | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
IEC 60068-2-52 - Salt Mist | IEC 60068-2-52 - Salt Mist | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
IEC 60092-101 - Flame Retardant | IEC 60092-101 - Flame Retardant | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
IEC 60695-11-5 - Flame Retardant | IEC 60695-11-5 - Flame Retardant | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
UL1500 – Standard for Ignition-Protection Test for Marine Products | UL1500 – Standard for Ignition-Protection Test for Marine Products | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
ABYC S-31 Environmental Considerations For Electronic Systems and Components Installed on Boats | ABYC S-31 Environmental Considerations For Electronic Systems and Components Installed on Boats | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
ISO 8846 - Small craft – Electrical devices – Protection against ignition of surrounding flammable gases | ISO 8846 - Small craft – Electrical devices – Protection against ignition of surrounding flammable gases | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)
SAE J1171 - – External Ignition Protection of Marine Electrical Devices | SAE J1171 - – External Ignition Protection of Marine Electrical Devices | These standards are already on our TL-347 scope of accreditations. LabTest shares QMS and resources. This site does not have EMC testing or Vibration testing. Personal trained by staff in Delta (TL-347)

## Personnel
Laboratory Personnel*
Lab can attach relevant training records in the company format as an alternative.
Test Method:
Test Method Title:
Exclusions:
SOP DCN, if applicable:
SOP Title:
Technician | Date Trained | Trainer | Comments

## Test Equipment
Test Equipment*
Lab can attach relevant records in the company format as an alternative. Also, attach valid calibration certificates of the equipment being used for the tests.
Test Method:
Test Method Title:
Exclusions: | EMC and Vibration Testing if needed will be conducted in Delta lab owned by LabTest and ISO 17025 accredited by IAS (TL367)
Notes: | Test equipment is shared and owned by LabTest, test equipment and respurces as needed will be relocated to the lab.
Test Measurement Type | labtest_id_number | equipment_name | calibration_agency | calibration_date | calibration_due_date | test_laboratory | specific_location | equipment_status
Leakage Current | 1 | Leakage Current Tester | Wescan Calibration | 17 November, 2023 | 17 November, 2024 | Delta | Equip. Storage Cab. 2 - Calibrated | Calibrated
| 20 | DMM | Transcat | 28 February, 2024 | 28 February, 2025 | Toronto | Other | Calibrated
Voltage | 21 | 4 channel 200 MHz Oscilloscope | Wescan | 23 February, 2024 | 23 February, 2025 | Delta | Equip. Storage Cab. 2 - Calibrated | Calibrated
| 46 | Data Acquisition Unit | Precision Metrology | 17 February, 2021 | 17 February, 2022 | Las Vegas | LV-Storage 2 | Calibrated
Length | 50 | Digital Caliper | Miller Instruments | 23 August, 2023 | 23 August, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
| 87 | Data Acquisition unit | Trescal | 15 November, 2021 | 15 November, 2022 | Las Vegas | LV-Storage 2 | Calibrated
Length | 94 | Dial Indicator | Wescan Calibration | 16 November, 2023 | 16 November, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
| 1003 | Neutral Density Filters (3 Pcs) | International Light Technologies | 30 June, 2023 | 30 June, 2024 | Delta | Environmental Lab | Calibrated
Pressure | 1004 | Pressure Transducer | Wescan | 27 June, 2023 | 27 June, 2024 | Delta | Other | Calibrated
Temperature | 1009 | Temp/RH/Press Datalogger | Wescan | 21 November, 2023 | 21 November, 2024 | Richmond | EMC Test Rack | Calibrated
Pressure | 1012 | 10000 PSI Digital Pressure Gauge | Wescan | 01 August, 2023 | 01 August, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
| 1016 | Log Periodic Antenna | Marsh - metrology | 29 June, 2023 | 29 June, 2026 | Richmond | EMC Test Rack | Calibrated
| 1022 | DC Milligauss Meter | Keysight | 20 July, 2023 | 20 July, 2024 | Delta | EMC Cabinet 1 | Calibrated
| 1095 | Set of Weights | Miller | 11 April, 2024 | 11 April, 2027 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
| 1133 | Electrical Safety Analyzer | Miller Instruments | 17 August, 2023 | 17 August, 2024 | Delta | Electrical Lab | Calibrated
Current | 1147 | True RMS Clamp Meter | Pylon Electronics | 02 April, 2024 | 02 April, 2025 | Toronto | Other | Calibrated
Pressure | 1150 | Pressure Transducer | Miller Instruments Ltd | 18 March, 2024 | 18 March, 2025 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Voltage | 1160 | Digital Power Analyzer | Wescan | 05 June, 2023 | 05 June, 2024 | Delta | Equip. Storage Cab. 2 - Calibrated | Calibrated
Temperature | 1165 | Environmental Logger | wescan | 16 May, 2024 | 16 May, 2025 | Delta | PPE Lab | Calibrated
Temperature | 1166 | USB Data Logger | wescan | 27 February, 2024 | 27 February, 2025 | Delta | Fire Testing Lab | Calibrated
| 1301 | PV Analyzer 1000V IV Curve Tracer | Solmetric Corporation | 04 April, 2023 | 03 April, 2026 | Las Vegas | LV-Storage 1 | Calibrated
| 1302 | Environmental Datalogger | Trescal | 18 November, 2021 | 18 November, 2022 | Las Vegas | LV-Storage 1 | Calibrated
| 1320 | Digital Timer | Control Company | 11 February, 2020 | 11 February, 2022 | Las Vegas | LV-Storage 1 | Calibrated
| 1321 | Filler Gauge | Precision Metrology | 17 February, 2021 | 17 February, 2024 | Las Vegas | LV-Storage 2 | Calibrated
| 1322 | Digital Timer | Control Company | 11 February, 2020 | 11 February, 2022 | Las Vegas | LV-Storage 1 | Calibrated
| 1323 | Flue Gas Analyzer | Dick Munns | 24 March, 2022 | 24 March, 2023 | Indianapolis | LV-Storage 1 | Calibrated
| 1324 | IR Thermometer | Precision Metrology | 28 February, 2022 | 28 February, 2023 | Las Vegas | LV-Storage 1 | Calibrated
| 1325 | Digimatic Caliper | Precision Metrology | 04 February, 2022 | 04 February, 2023 | Las Vegas | LV-Storage 1 | Calibrated
| 1327 | Manometer | Trescal | 02 February, 2022 | 02 February, 2023 | Indianapolis | Other | Calibrated
Lumosity | 1328 | Light Meter | Precision Metrology | 16 February, 2022 | 16 February, 2023 | Las Vegas | LV-Storage 1 | Calibrated
Velocity | 1329 | Anemometer | Precision Metrology | 16 February, 2022 | 16 February, 2023 | Indianapolis | Other | Calibrated
| 1331 | Gas Flow Meter | Dick Munns Company | 04 March, 2022 | 04 March, 2023 | Las Vegas | LV-Storage 1 | Calibrated
PPM/ Concentration | 1332 | Gas Flow Meter | Dick Munns Company | 30 June, 2023 | 30 June, 2024 | Delta |  | Calibrated
| 1337 | Multimeter | Cal Tec | 17 December, 2021 | 31 December, 2022 | Las Vegas | Other | Calibrated
| 1338 | Clamp meter | Cal Tec | 17 December, 2021 | 31 December, 2021 | Las Vegas | Other | Calibrated
Flow Rate | 1340 | Flowmeter | Tektronix | 28 April, 2022 | 28 April, 2023 | Las Vegas | Other | Calibrated
Pressure | 1341 | Pressure Gauge | Cal Tec | 16 January, 2022 | 31 December, 2022 | Las Vegas | Other | Calibrated
| 1342 | Temperature/Relative Humidity Data Logger | Cal Tec | 16 December, 2021 | 31 December, 2022 | Las Vegas | Other | Calibrated
Pressure | 1343 | Manometer | Cal Tec | 17 December, 2021 | 31 December, 2022 | Las Vegas | Other | Calibrated
Temperature | 1344 | 2 Channel 2 Thermocouple Types Wireless and USB Datalogger | Cal Tec | 17 December, 2021 | 31 December, 2022 | Las Vegas | Other | Calibrated
| 1347 | Ozone Generator | Teledyne API | 14 May, 2021 | 14 May, 2022 | Las Vegas | LV-Storage 1 | Calibrated
Mass | 1350 | Electronic Balance | Dick Munns | 12 April, 2022 | 12 April, 2023 | Las Vegas | Conference Room | Calibrated
| 1357 | Environmental Datalogger | Dick Munns | 12 April, 2022 | 12 April, 2023 | Las Vegas | Conference Room | Calibrated
| 1358 | Digital Timer |  | 01 March, 2022 | 01 March, 2024 | Las Vegas | Conference Room | Calibrated
Time | 1359 | Digital Timer |  | 01 March, 2022 | 01 March, 2024 | Las Vegas | Conference Room | Calibrated
Voltage | 1373 | Dielectric Strength Tester | Miller Instruments | 18 April, 2024 | 18 April, 2025 | Delta | Equip. Storage Cab. 2 - Calibrated | Calibrated
| 1374 | Torque Wrench | Cal Tec Labs | 08 March, 2022 | 08 March, 2023 | Las Vegas | Other | Calibrated
Length | 1375 | Caliper | Cal Tec Labs | 08 March, 2022 | 08 March, 2023 | Las Vegas | Other | Calibrated
Time | 1376 | Stopwatch | Cal Tec Labs | 08 March, 2022 | 08 March, 2023 | Las Vegas | Electrical Lab | Calibrated
| 1377 | Tape measure | ICS | 12 May, 2021 | 12 May, 2022 | Las Vegas | Other | Calibrated
Velocity | 1409 | Rotary Vane Anemometer | Graftel | 27 March, 2024 | 27 March, 2025 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Displacement | 1410 | Digital Caliper | Wescan | 13 June, 2023 | 13 June, 2024 | Delta | Fire Testing Lab | Calibrated
Mass | 1411 | Digital Pocket Scale | Miller | 19 September, 2023 | 19 September, 2024 | Delta | PPE Lab | Calibrated
Time | 1413 | Stopwatch | Miller Instruments | 17 August, 2023 | 17 August, 2024 | Delta |  | Calibrated
Length | 1414 | Digital Caliper | Pylon | 01 April, 2024 | 01 April, 2025 | Toronto | Other | Calibrated
| 1416 | Digital Sound Level Meter | Transcat | 30 October, 2023 | 30 October, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
| 1418 | Sound Level Calibrator | Transcat | 30 October, 2023 | 30 October, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Length | 1433 | Stainless Steel Ruler | Wescan | 24 May, 2024 | 24 May, 2025 | Delta | Calibration Test Bench | Calibrated
Pressure | 1434 | Manometer | Miller | 23 April, 2024 | 23 April, 2025 | Delta | Environmental Lab | Calibrated
Mass | 1435 | EntrisÂ® II Analytical Balance 220 g¦0.1 mg, Internal Adjustment | Miller | 22 August, 2023 | 22 August, 2024 | Delta | PPE Lab | Calibrated
Length | 1439 | Gage Block | Northern Gauge | 01 April, 2024 | 01 April, 2027 | Delta | Calibration Lab | Calibrated
| 1441 | Pressure Gauge | Precision Laboratory Inc. | 06 February, 2023 | 06 February, 2024 | Toronto | Other | Calibrated
Acceleration | 1452 | Accelerometer | Novastar | 20 November, 2023 | 20 November, 2024 | Delta | Environmental Lab | Calibrated
| 1454 | PC USB Oscilloscope | Miller | 24 August, 2023 | 24 August, 2024 | Richmond | Other | Calibrated
Time | 1460 | Stop Watch Timer | Miller | 30 January, 2024 | 30 January, 2025 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Time | 1461 | Stop Watch Timer | Miller | 30 January, 2024 | 30 January, 2025 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Frequency | 1462 | Universal Digital Counter | Wescan | 05 April, 2022 | 05 April, 2023 | Delta | Calibration Test Bench | Calibrated
Voltage | 1472 | Digital Multimeter | Wescan | 22 June, 2023 | 22 June, 2024 | Delta | Fire Testing Lab | Calibrated
Acceleration | 1478 | Flowmeter | Precision Laboratory INC | 26 July, 2021 | 26 July, 2022 | Toronto | Other | Calibrated
| 1480 | Temperature/Relative Humidity Data Logger | Transcat | 04 March, 2024 | 04 March, 2025 | Toronto | Other | Calibrated
Pressure | 1481 | Manometer | Pylon Electronics | 10 April, 2024 | 10 April, 2025 | Toronto | Other | Calibrated
Temperature | 1482 | 2 Channel 2 Thermocouple Types Wireless and USB Datalogger | Transcat | 28 February, 2024 | 27 February, 2025 | Toronto | Other | Calibrated
| 1483 | HiPot Tester | Transcat | 28 February, 2024 | 28 February, 2025 | Toronto | Other | Calibrated
| 1485 | Data logger | Transcat | 08 February, 2024 | 08 February, 2025 | Toronto | Electrical Lab | Calibrated
| 1486 | Data logger | Pylon Electronics | 08 April, 2024 | 08 April, 2025 | Toronto | Electrical Lab | Calibrated
Voltage | 149 | High Voltage Probe | Wescan | 08 April, 2024 | 08 April, 2025 | Delta | Equip. Storage Cab. 2 - Calibrated | Calibrated
| 1498 | Digital Light Meter | Trescal | 28 February, 2024 | 28 February, 2025 | Delta | Equip. Storage Cab. 4 - Calibrate Before Use | Calibrated
| 150 | IEC 61032 Test Probe B | ED&D | 09 October, 2023 | 09 October, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Temperature | 1505 | Environmental Logger | Wescan | 30 April, 2024 | 30 April, 2025 | Delta | Calibration Lab | Calibrated
Pressure | 1510 | Pressure Gauge | Miller Instruments | 17 August, 2023 | 17 August, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Pressure | 1512 | Incline Manometer | Wescan | 27 June, 2023 | 27 June, 2024 | Delta | Fire Testing Lab | Calibrated
Force | 1513 | Digital Torque Screwdriver | Wescan | 03 August, 2023 | 03 August, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Pressure | 1523 | 100PSI Pressure Gauge | Wescan | 11 April, 2022 | 11 April, 2023 | Delta | Calibration Lab | Calibrated
Pressure | 1524 | 100PSI Pressure Gauge | Wescan | 05 May, 2024 | 05 May, 2025 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
| 1527 | LISN | Com-power | 13 April, 2023 | 13 April, 2025 | Richmond | Electrical Lab | Calibrated
| 1528 | LISN | Precision Laboratory | 13 April, 2023 | 13 April, 2025 | Richmond | Electrical Lab | Calibrated
Humidity | 1538 | Temperature/Humidity Data Logger | Wescan | 27 June, 2023 | 27 June, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Temperature | 1540 | Atmospheric, temperature and relative humidity sensor | Wescan | 23 October, 2023 | 23 October, 2024 | Richmond | CEW(STNA) | Calibrated
Current | 1544 | Clamp Meter | Miller | 27 June, 2023 | 27 June, 2024 | Delta | Environmental Lab | Calibrated
| 1547 | Gauge block | Northern Gauge | 28 May, 2021 | 28 May, 2024 | Delta | Calibration Test Bench | Calibrated
Temperature | 1548 | Environmental Datalogger | Wescan | 28 June, 2023 | 28 June, 2024 | Delta | Electrical Lab | Calibrated
Temperature | 1551 | Atmospheric, temperature and relative humidity sensor | Wescan | 30 August, 2024 | 05 August, 2023 | Richmond | CEW(STNA) | Calibrated
Voltage | 1561 | Digital Multimeter | Wescan | 20 July, 2023 | 20 July, 2024 | Delta | Equip. Storage Cab. 2 - Calibrated | Calibrated
Current | 1562 | DMM, Current Clamp | Wescan | 14 August, 2023 | 14 August, 2024 | Delta | Equip. Storage Cab. 2 - Calibrated | Calibrated
Voltage | 1565 | Digital Multimeter | Miller Instruments | 05 August, 2022 | 05 August, 2023 | Richmond | CEW(STNA) | Calibrated
| 1567 | Digital Multimeter | Miller | 25 May, 2024 | 25 April, 2025 | Delta | CEW(STNA) | Calibrated
| 1568 | DMM | Wescan | 17 September, 2021 | 17 September, 2022 | Delta | Equip. Storage Cab. 4 - Calibrate Before Use | Calibrated
| 1571 | AC Hipot tester | Miller Instruments | 18 July, 2023 | 18 July, 2024 | Delta | Electrical Lab | Calibrated
| 1576 | Digital Angle Meter | Wescan | 02 February, 2024 | 02 February, 2025 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Leakage Current | 1582 | Leakage Current Tester | Wescan Calibration | 05 May, 2023 | 05 May, 2024 | Delta | Equip. Storage Cab. 2 - Calibrated | Calibrated
| 1583 | Biconical Antenna | KeySight Technologies | 25 January, 2022 | 25 January, 2025 | Richmond | EMC Test Rack | Calibrated
| 1584 | Biconical Antenna | KeySight Technologies | 25 January, 2022 | 25 January, 2025 | Richmond | EMC Test Rack | Calibrated
Length | 1585 | 1-2 inch Outside Micrometer | Miller Instruments | 27 February, 2024 | 27 February, 2025 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Length | 1586 | 0-1 inch Outside Micrometer | Miller Instruments | 27 February, 2024 | 27 February, 2025 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Length | 1587 | 2-3 inch Outside Micrometer | Miller Instruments | 27 February, 2024 | 27 February, 2025 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Length | 1588 | Inside Micrometer | Wescan Calibration | 28 April, 2023 | 28 April, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Length | 1589 | Inside Micrometer, Internal Bore Gauge | Wescan Calibration | 28 April, 2023 | 28 April, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Flow Rate | 1592 | Liquid Flowmeter | Dick Munns | 31 May, 2023 | 31 May, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Temperature | 1596 | Temperature/Humidity Data Logger | Wescan | 27 June, 2023 | 27 June, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Voltage | 1600 | Data Acquisition | Wescan Calibration | 23 October, 2023 | 23 October, 2024 | Delta | Electrical Lab | Calibrated
| 1617 | High Voltage Probe |  | 18 April, 2023 | 18 April, 2024 | Delta | Electrical Lab | Calibrated
Temperature | 1625 | Environmental Logger | Wescan | 17 August, 2023 | 17 August, 2024 | Delta | SI Inspector | Calibrated
Current | 1640 | Current Sensor | Wescan | 05 April, 2024 | 05 April, 2025 | Delta | Electrical Lab | Calibrated
| 1643 | On-Site Fenestration Spray Rack | LabTest | 23 November, 2022 | 23 May, 2023 | Delta | Electrical Lab | Calibrated
Pressure | 1649 | Pressure Transducer | Miller | 12 February, 2024 | 12 February, 2025 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Humidity | 1650 | Temperature & Humidity Probe Module | Vaisala | 01 February, 2024 | 01 February, 2025 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
| 1652 | Plug and Socket Torque Tester | Guang Zhou Grg metrology test co ltd | 02 January, 2023 | 02 January, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
PPM/ Concentration | 1662 | Oxygen Sensor | Dick Munns | 26 September, 2023 | 26 September, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
PPM/ Concentration | 1663 | Oxygen Sensor | Dick Munns | 26 September, 2023 | 26 September, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Voltage | 1664 | Data Logger | PME Services, Inc. | 27 March, 2023 | 27 March, 2024 | Delta | Equip. Storage Cab. 2 - Calibrated | Calibrated
Flow Rate | 1668 | Mass Flow Meter | AALFA-KAL METROLOGY LABORATORY | 28 August, 2023 | 28 August, 2024 | Delta | Electrical Lab | Calibrated
Flow Rate | 1669 | Mass Flow Meter | AALFA-KAL METROLOGY LABORATORY | 28 August, 2023 | 28 August, 2024 | Delta | Electrical Lab | Calibrated
Flow Rate | 1671 | Mass Flow Meter | Dick Munns | 13 September, 2023 | 13 September, 2024 | Delta | Calibration Lab | Calibrated
Flow Rate | 1677 | Mass Flow Meter | Dick Munns | 13 September, 2023 | 13 September, 2024 | Delta | Calibration Lab | Calibrated
Acceleration | 1679 | Tri-axial accelerometer | Novastar | 29 August, 2023 | 29 August, 2024 | Delta | Electrical Lab | Calibrated
Voltage | 1680 | 10 Ch. Data Logger | Miller | 23 August, 2023 | 23 August, 2024 | Delta | Electrical Lab | Calibrated
Flow Rate | 1695 | Electronic Flow meter | Dick Munns | 30 October, 2023 | 30 October, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Lumosity | 1699 | Lux meter | Traceable | 28 July, 2023 | 28 July, 2025 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Pressure | 1701 | IPX3 IPX4 Spray Nozzle | Pylon Electronics | 03 April, 2024 | 03 April, 2025 | Toronto | Electrical Lab | Calibrated
Length | 1702 | Tape measure | Transcat | 27 February, 2024 | 27 February, 2025 | Toronto | Electrical Lab | Calibrated
| 1703 | Climate Chamber 1 | Precision Lab, Etobicoke | 03 October, 2023 | 03 October, 2024 | Toronto | Electrical Lab | Calibrated
Pressure | 1705 | IPX5 IPX6 Jet Nozzle | Pylon | 03 April, 2024 | 03 April, 2025 | Toronto | Electrical Lab | Calibrated
PH | 1710 | pH/EC/TDS | Transcat | 29 December, 2023 | 29 December, 2024 | Toronto | Electrical Lab | Calibrated
| 1711 | Test finger probe B | Shenzhen Academy of Metrology & Quality Inspection | 08 September, 2022 | 07 September, 2025 | Toronto | Electrical Lab | Calibrated
Acceleration | 1712 | Child Finger Probe 18 | Shenzhen Academy of Metrology & Quality Inspection | 08 September, 2022 | 07 September, 2025 | Toronto | Electrical Lab | Calibrated
Acceleration | 1713 | Child Finger Probe 19 | Shenzhen Academy of Metrology & Quality Inspection | 08 September, 2022 | 07 September, 2025 | Toronto | Electrical Lab | Calibrated
Acceleration | 1714 | Test pin probe 13 (short) | Shenzhen Academy of Metrology & Quality Inspection | 08 September, 2022 | 07 September, 2025 | Toronto | Electrical Lab | Calibrated
Acceleration | 1715 | Test pin probe 12 (long) | Shenzhen Academy of Metrology & Quality Inspection | 08 September, 2022 | 07 September, 2025 | Toronto | Electrical Lab | Calibrated
Acceleration | 1716 | Test pin D | Shenzhen Academy of Metrology & Quality Inspection | 08 September, 2022 | 07 September, 2025 | Toronto | Electrical Lab | Calibrated
Acceleration | 1717 | Test pin C | Shenzhen Academy of Metrology & Quality Inspection | 08 September, 2022 | 07 September, 2025 | Toronto | Electrical Lab | Calibrated
Acceleration | 1718 | Rigid test probe 11 | Shenzhen Academy of Metrology & Quality Inspection | 08 September, 2022 | 07 September, 2025 | Toronto | Electrical Lab | Calibrated
Acceleration | 1719 | Test hook | Shenzhen Academy of Metrology & Quality Inspection | 08 September, 2022 | 07 September, 2025 | Toronto | Electrical Lab | Calibrated
Mass | 1720 | 50mm impact test ball with ring | Shenzhen Academy of Metrology & Quality Inspection | 08 September, 2022 | 07 September, 2025 | Toronto | Electrical Lab | Calibrated
Mass | 1721 | 227g impact test ball | Shenzhen Academy of Metrology & Quality Inspection | 08 September, 2022 | 07 September, 2025 | Toronto | Electrical Lab | Calibrated
Acceleration | 1722 | Telecom test probe | Shenzhen Academy of Metrology & Quality Inspection | 08 September, 2022 | 07 September, 2025 | Toronto | Electrical Lab | Calibrated
Acceleration | 1724 | Test finger nail probe | Shenzhen Academy of Metrology & Quality Inspection | 08 September, 2022 | 07 September, 2025 | Toronto | Electrical Lab | Calibrated
Acceleration | 1725 | Universal spring impact hammer | Shenzhen Academy of Metrology & Quality Inspection | 01 September, 2022 | 31 August, 2023 | Toronto | Electrical Lab | Calibrated
Acceleration | 1726 | Creepage distance test card | Shenzhen Academy of Metrology & Quality Inspection | 08 September, 2022 | 07 September, 2023 | Toronto | Electrical Lab | Calibrated
| 174 | Ball Pressure Tester | ED&D | 26 February, 2024 | 26 February, 2025 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Time | 1838 | Digital Dual Timer |  |  |  | Indianapolis | Electrical Lab | Calibrated
Time | 1839 | Digital Dual Timer |  |  |  | Indianapolis | Electrical Lab | Calibrated
Leakage Current | 1849 | Medical Safety Analyzer |  | 25 January, 2023 | 25 January, 2024 | Indianapolis | Electrical Lab | Calibrated
Pressure | 1851 | Digital Pressure Gauge |  | 27 February, 2023 | 26 February, 2024 | Indianapolis | Other | Calibrated
Time | 1866 | Temperature and Humidity Datalogger |  | 20 March, 2023 | 20 March, 2024 | Indianapolis | Electrical Lab | Calibrated
Length | 1867 | Calipers | MSI Viking | 22 March, 2023 | 22 March, 2024 | Indianapolis | Electrical Lab | Calibrated
PPM/ Concentration | 1872 | Hydrogen Gas Analyzer |  | 22 March, 2023 | 22 March, 2024 | Indianapolis | Electrical Lab | Calibrated
PPM/ Concentration | 1875 | Gas Flue Analyzer | Forensics Detectors | 30 March, 2023 | 30 March, 2024 | Indianapolis | Other | Calibrated
PPM/ Concentration | 1894 | Ozone Analyzer |  | 30 April, 2023 | 30 April, 2024 | Indianapolis | Electrical Lab | Calibrated
Pressure | 1900 | pressure Gauge | Precision Lab, Etobicoke | 03 October, 2023 | 03 October, 2024 | Toronto | Electrical Lab | Calibrated
Humidity | 1901 | Humidity sensor | Transcat | 07 March, 2024 | 08 March, 2025 | Toronto | Other | Calibrated
Mass | 1904 | Weight scale | Transcat | 08 March, 2024 | 08 March, 2025 | Toronto | Electrical Lab | Calibrated
Current | 1905 | AC/DC/IR/GB Tester |  | 29 September, 2023 | 29 September, 2024 | Toronto | Electrical Lab | Calibrated
Flow Rate | 1906 | Flow meter | Dick Munns | 17 April, 2024 | 17 April, 2025 | Toronto | Electrical Lab | Calibrated
Resistor | 1907 | LCR Meter | Pylon Electronics | 17 April, 2024 | 17 April, 2025 | Toronto | Electrical Lab | Calibrated
Time | 1911 | Digital Timer | Traceable | 15 February, 2024 | 13 February, 2025 | Toronto | Electrical Lab | Calibrated
Length | 1924 | Digital Calliper | Traceable | 10 May, 2024 | 10 May, 2025 | Toronto | Electrical Lab | Calibrated
Pressure | 1926 | pressure Gauge | Pylon | 01 April, 2024 | 01 April, 2025 | Toronto | Electrical Lab | Calibrated
Current | 1995 | Leakage Current Tester | Precision Laboratory Inc. | 07 June, 2023 | 07 June, 2024 | Toronto | Electrical Lab | Calibrated
Pressure | 1997 | pressure Gauge | Precision Lab, Etobicoke | 03 October, 2023 | 03 October, 2024 | Toronto | Electrical Lab | Calibrated
Pressure | 1999 | pressure Gauge | Precision Lab, Etobicoke | 03 October, 2023 | 03 October, 2024 | Toronto | Electrical Lab | Calibrated
Voltage | 207 | 100 MHZ scope/DMM (Digital Scope) | Miller Instruments | 21 July, 2023 | 21 July, 2024 | Delta | Equip. Storage Cab. 2 - Calibrated | Calibrated
| 212 | Digital Sound Level Meter | Transcat | 28 February, 2024 | 28 February, 2025 | Toronto | Other | Calibrated
Mass | 219 | Weight scale | Miller Instruments | 23 April, 2024 | 23 April, 2025 | Delta | Electrical Lab | Calibrated
PPM/ Concentration | 2201 | Oxygen Sensor | Dick Munns | 26 September, 2023 | 26 September, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
PPM/ Concentration | 2202 | Oxygen Sensor | Dick Munns | 26 September, 2023 | 26 September, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
PPM/ Concentration | 2203 | Oxygen Sensor | Dick Munns | 26 September, 2023 | 26 September, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
PPM/ Concentration | 2204 | Oxygen Sensor | Dick Munns | 26 September, 2023 | 26 September, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
PPM/ Concentration | 2205 | Oxygen Sensor | Dick Munns | 26 September, 2023 | 26 September, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
PPM/ Concentration | 2206 | Oxygen Sensor | Dick Munns | 26 September, 2023 | 26 September, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
PPM/ Concentration | 2207 | Oxygen Sensor | Dick Munns | 26 September, 2023 | 26 September, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
PPM/ Concentration | 2208 | Oxygen Sensor | Dick Munns | 26 September, 2023 | 26 September, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Flow Rate | 2209 | Mass Flow Meter | AALFA-KAL METROLOGY LABORATORY | 27 July, 2023 | 27 July, 2024 | Delta | Electrical Lab | Calibrated
Flow Rate | 2210 | Mass Flow Meter | AALFA-KAL METROLOGY LABORATORY | 21 September, 2023 | 21 September, 2024 | Delta | Environmental Lab | Calibrated
Flow Rate | 2211 | Mass Flow Meter | AALFA-KAL METROLOGY LABORATORY | 21 September, 2023 | 21 September, 2024 | Delta | Environmental Lab | Calibrated
Flow Rate | 2212 | Mass Flow Meter | AALFA-KAL METROLOGY LABORATORY | 21 September, 2023 | 21 September, 2024 | Delta | Environmental Lab | Calibrated
Flow Rate | 2213 | Mass Flow Meter | AALFA-KAL METROLOGY LABORATORY | 21 September, 2023 | 21 September, 2024 | Delta | Environmental Lab | Calibrated
Flow Rate | 2214 | Mass Flow Meter | AALFA-KAL METROLOGY LABORATORY | 21 September, 2023 | 21 September, 2024 | Delta | Environmental Lab | Calibrated
PPM/ Concentration | 2215 | Oxygen Sensor | Dick Munns | 26 September, 2023 | 26 September, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
PPM/ Concentration | 2216 | Oxygen Sensor | Dick Munns | 26 September, 2023 | 26 September, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
PPM/ Concentration | 2217 | Oxygen Sensor | Dick Munns | 26 September, 2023 | 26 September, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
PPM/ Concentration | 2218 | Oxygen Sensor | Dick Munns | 26 September, 2023 | 26 September, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
PPM/ Concentration | 2219 | Oxygen Sensor | Dick Munns | 26 September, 2023 | 26 September, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Flow Rate | 2224 | Mass Flow Meter | AALFA-KAL METROLOGY LABORATORY | 22 August, 2023 | 22 August, 2024 | Delta | Calibration Lab | Calibrated
Flow Rate | 2225 | Mass Flow Meter | AALFA-KAL METROLOGY LABORATORY | 22 August, 2023 | 22 August, 2024 | Delta | Calibration Lab | Calibrated
Flow Rate | 2226 | Mass Flow Meter | AALFA-KAL METROLOGY LABORATORY | 22 August, 2023 | 22 August, 2024 | Delta | Calibration Lab | Calibrated
Flow Rate | 2227 | Mass Flow Meter | AALFA-KAL METROLOGY LABORATORY | 22 August, 2023 | 22 August, 2024 | Delta | Calibration Lab | Calibrated
Pressure | 2231 | Pressure gauge | Wescan | 27 September, 2023 | 27 September, 2024 | Delta | Delta IPX Mezzanine | Calibrated
Pressure | 2232 | Pressure gauge | Wescan | 27 September, 2023 | 27 September, 2024 | Delta | Delta IPX Mezzanine | Calibrated
Pressure | 2233 | Pressure gauge | Miller | 27 September, 2023 | 27 September, 2024 | Delta | Delta IPX Mezzanine | Calibrated
PPM/ Concentration | 2239 | Multi Gas Monitor | Dick Munns | 12 December, 2023 | 12 December, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
| 224 | Telecom Port LISN for Ethernet | Keysight Technologies | 03 April, 2024 | 03 April, 2026 | Richmond | EMC Test Rack | Calibrated
Voltage | 2246 | 10 ch. Datalogger | Miller | 29 April, 2024 | 29 April, 2025 | Delta | Equip. Storage Cab. 2 - Calibrated | Calibrated
| 2250 | Articulated Finger probe | CVC Testing technology Co. ltd. Measuring centre | 28 November, 2023 | 28 November, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Acceleration | 2251 | 10 ch. Datalogger |  | 18 December, 2023 | 18 December, 2024 | Delta | Electrical Lab | Calibrated
Acceleration | 2252 | Mini-Biconical Antenna |  | 12 January, 2023 | 12 January, 2026 | Richmond | EMC Test Rack | Calibrated
Voltage | 2258 | Oscilloscope probe | Wescan | 05 April, 2024 | 05 April, 2025 | Delta | Equip. Storage Cab. 2 - Calibrated | Calibrated
Length | 2265 | Rigid Finger Probe | GRG Metrology & Test Group co. ltd | 26 November, 2023 | 26 November, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Pressure | 2267 | High Pressure Gauge | High pressure Equipment | 18 April, 2024 | 18 April, 2025 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
| 227B | LP Antenna | Marsh - Metrology | 29 July, 2023 | 29 June, 2026 | Richmond | EMC Test Rack | Calibrated
| 227C | Double Ridge Guide Horn Antenna | Keysight Technologies | 13 September, 2022 | 13 September, 2024 | Richmond | EMC Test Rack | Calibrated
| 227D | Horn Antenna | Keysight Tech. | 14 September, 2023 | 14 September, 2026 | Richmond | EMC Test Rack | Calibrated
| 227H | Passive Loop Antenna | Keysight | 12 September, 2022 | 12 September, 2024 | Richmond | EMC Cabinet 1 | Calibrated
Acceleration | 2301 | Double Ridge Active Horn Antenna | Com-Power Corp. | 23 February, 2024 | 23 February, 2026 | Richmond | EMC Test Rack | Calibrated
Flow Rate | 2341 | Hot Wire Anemometer | Graftel | 27 March, 2024 | 27 March, 2025 | Delta | Calibration Lab | Calibrated
Humidity | 2342 | Psychrometer | Wescan | 15 April, 2024 | 15 April, 2025 | Delta | Electrical Lab | Calibrated
| 242 | Passive Component LCR Meter | Wescan Calibration | 04 August, 2023 | 04 August, 2024 | Delta | Equip. Storage Cab. 2 - Calibrated | Calibrated
| 253 | Digital pressure gauge | Trescal | 02 February, 2022 | 02 February, 2023 | Las Vegas | LV-Storage 2 | Calibrated
| 255 | Digital pressure gauge | Precision Metrology | 28 February, 2021 | 28 February, 2022 | Las Vegas | LV-Storage 2 | Calibrated
| 259 | Pyranometer | Hukseflux (ISO-CAL) | 23 May, 2022 | 23 May, 2023 | Las Vegas | LV-Storage 2 | Calibrated
| 260 | PYRGEOMETER WITH HEATING | Hukseflux (ISO-CAL) | 23 May, 2022 | 23 May, 2023 | Las Vegas | LV-Storage 2 | Calibrated
| 261 | Pyranometer - First Class | Hukseflux (ISO-CAL) | 23 May, 2022 | 23 May, 2023 | Las Vegas | LV-Storage 2 | Calibrated
| 272 | EMC Analyzer | Marsh Metrology | 27 September, 2023 | 27 September, 2024 | Richmond | EMC Test Rack | Calibrated
Flow Rate | 279 | Water Flow meter | Dick Munns Company | 31 January, 2023 | 31 January, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Pressure | 282 | Digital pressure gauge | Miller Instruments | 27 June, 2023 | 27 June, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Temperature | 294 | Digital Thermometer | Miller Instruments | 17 August, 2023 | 17 August, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
| 296 | RTD Sensor | Precision Metrology | 02 April, 2021 | 02 April, 2022 | Las Vegas | LV-Storage 2 | Calibrated
Voltage | 301 | Multiplexer Module | Miller Instruments | 26 July, 2023 | 26 July, 2024 | Delta | Electrical Lab | Calibrated
Acceleration | 303 | Data Acquisition Card Agilent 34901A | Trescal | 15 November, 2021 | 15 November, 2022 | Las Vegas | LV-Storage 1 | Calibrated
| 305 | Multiplexer Module | Precision Metrology | 21 February, 2022 | 21 February, 2023 | Indianapolis | Electrical Lab | Calibrated
| 312 | Digital Manometer | Trescal | 10 November, 2021 | 10 November, 2022 | Las Vegas | LV-Storage 2 | Calibrated
| 313 | Wet/Wet Handheld Digital Manometer | Precision Metrology | 28 February, 2021 | 28 February, 2022 | Las Vegas | LV-Storage 2 | Calibrated
Voltage | 329 | Data Acquisition Unit | Miller | 25 July, 2023 | 25 July, 2024 | Delta | Equip. Storage Cab. 2 - Calibrated | Calibrated
Force | 349 | Torque Tester Adjustable Wrench | Wescan Calibration | 05 April, 2024 | 05 April, 2025 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
| 371 | Broadband EMC Test Antenna | Keysight Tech. | 25 October, 2022 | 25 October, 2024 | Richmond | EMC Test Rack | Calibrated
| 374 | RFI/EMC Shielded Enclosure Chamber | LabTest | 01 November, 2021 | 01 November, 2023 | Richmond | EMC Test Rack | Calibrated
Mass | 376 | Digital Scale | Precision Metrology | 17 February, 2022 | 17 February, 2023 | Las Vegas | Environmental Lab | Calibrated
| 377 | LISN_8611 | Precision Laboratory INC. | 27 February, 2023 | 27 February, 2025 | Richmond | EMC Test Rack | Calibrated
| 378 | LISN_8611 | Precision Laboratory INC. | 27 February, 2023 | 27 February, 2025 | Richmond | EMC Test Rack | Calibrated
| 395 | Dynamic Pressure Sensor | Kistler | 26 January, 2024 | 26 January, 2025 | Delta | Calibration Lab | Calibrated
Flow Rate | 401 | Air Flow Meter with Valve | Dick Munns | 28 September, 2023 | 28 September, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
| 402 | Air Flow Meter | Dick Munns | 21 August, 2023 | 21 August, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Velocity | 415 | Digital Tachometer | Wescan | 26 July, 2023 | 26 July, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
| 453 | Dwyer Pressure Gauge | Trescal | 02 February, 2022 | 02 February, 2023 | Indianapolis | Other | Calibrated
| 505 | Gas Flow Meter | Dick Munns Company | 24 March, 2022 | 24 March, 2023 | Indianapolis | LV-Storage 2 | Calibrated
Time | 512 | Digital Timer | Miller Instruments | 22 August, 2023 | 22 August, 2024 | Delta | SI Inspector | Calibrated
| 515 | Dynamic Pressure Sensor | Kistler | 10 August, 2023 | 10 August, 2024 | Delta | Other | Calibrated
| 518 | Tape measure | Trescal | 05 November, 2021 | 05 November, 2022 | Las Vegas | LV-Storage 2 | Calibrated
Mass | 520 | Precision Balance | Transcat | 20 February, 2024 | 21 February, 2025 | Toronto | Calibration Lab | Calibrated
| 522 | Digital Power Analyzer | Transcat | 04 March, 2024 | 04 March, 2025 | Toronto | Other | Calibrated
Force | 523 | Force Gauge | Pylon Electronics | 12 April, 2024 | 12 April, 2025 | Toronto | Other | Calibrated
Flow Rate | 524 | Gas Meter | PolyControls | 29 April, 2024 | 29 April, 2025 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Flow Rate | 527 | Water Flow meter | Dick Munns Company | 23 February, 2024 | 23 February, 2025 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Current | 528 | Current Clamp Meter | Wescan Calibration | 01 May, 2024 | 01 May, 2025 | Delta | SI Inspector | Calibrated
Voltage | 593 | Digital Multimeter | Wescan | 11 August, 2023 | 11 August, 2024 | Delta | Equip. Storage Cab. 2 - Calibrated | Calibrated
Temperature | 596 | Thermesthesiometer | A&P Calibration | 10 August, 2023 | 10 August, 2024 | Delta | Equip. Storage Cab. 2 - Calibrated | Calibrated
Temperature | 597 | Thermesthesiometer Probe | A & P Calibrations Inc. | 10 August, 2023 | 10 August, 2024 | Delta | Equip. Storage Cab. 2 - Calibrated | Calibrated
Flow Rate | 604 | Laminar flow element | Dick Munns Company | 02 February, 2024 | 02 February, 2025 | Delta | Environmental Lab | Calibrated
Acceleration | 612 | Accelerometer | Novastar Solutions | 27 February, 2024 | 27 February, 2025 | Delta | Environmental Lab | Calibrated
Acceleration | 614 | Accelerometer | Novastar Solutions | 27 February, 2024 | 27 February, 2025 | Delta | Environmental Lab | Calibrated
Length | 617 | Calipers | Wescan | 03 May, 2024 | 03 May, 2025 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
PPM/ Concentration | 619 | Salinity Monitor | Transcat | 09 November, 2023 | 09 November, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Displacement | 623 | Linear Variable Displacement Transducer | Wescan | 24 May, 2024 | 24 May, 2025 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Voltage | 624 | Power Analyzer | Wescan | 28 August, 2023 | 28 August, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Voltage | 644 | Multimeter | Miller Instruments | 24 July, 2023 | 24 July, 2024 | Delta | Equip. Storage Cab. 2 - Calibrated | Calibrated
Acceleration | 661 | Accelerometer | Novastar Solutions | 26 February, 2024 | 26 February, 2025 | Delta | Environmental Lab | Calibrated
| 662 | Accelerometer | Novastar Solutions | 19 February, 2024 | 19 February, 2025 | Delta | Environmental Lab | Calibrated
| 676 | Dielectric Strength Tester | Precision Laboratory Inc. | 06 February, 2023 | 06 February, 2024 | Toronto | Other | Calibrated
Voltage | 678 | Power Analyzer | Wescan | 11 August, 2023 | 11 August, 2024 | Delta | Equip. Storage Cab. 2 - Calibrated | Calibrated
Voltage | 683 | Dielectric Strength Tester | Miller | 16 August, 2023 | 16 August, 2024 | Delta | SI Inspector | Calibrated
Current | 694 | Leakage Current Tester | Miller Instruments | 17 August, 2023 | 17 August, 2024 | Delta | SI Inspector | Calibrated
Temperature | 695 | Environmental Logger | Wescan | 18 August, 2023 | 18 August, 2024 | Delta | Electrical Lab | Calibrated
Displacement | 696 | Linear Variable Displacement Transducer | Wescan | 06 May, 2024 | 06 May, 2025 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Flow Rate | 701 | Water Flow Meter | Dick Munns | 21 August, 2023 | 21 August, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
| 702 | EMI Receiver | Keysight Technologies | 26 April, 2024 | 26 April, 2025 | Richmond | EMC Test Rack | Calibrated
| 707 | Vector Signal Generator | MARSH Metrology | 15 May, 2023 | 15 May, 2024 | Delta | EMC Test Rack | Calibrated
Flow Rate | 708 | Air Flow Meter 0 - 5 lpm | Dick Munns | 23 February, 2024 | 23 February, 2025 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
| 716 | Absorbing Clamp | Micro-Precision | 14 September, 2022 | 14 September, 2024 | Richmond | EMC Test Rack | Calibrated
PPM/ Concentration | 719 | Flue Gas Analyzer | Dick Munns | 13 July, 2023 | 13 July, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
| 722 | Multiplexer Module | Miller | 02 May, 2023 | 02 May, 2024 | Delta | Equip. Storage Cab. 4 - Calibrate Before Use | Calibrated
Voltage | 723 | Multiplexer Module | Miller | 27 July, 2023 | 27 July, 2024 | Delta | Equip. Storage Cab. 2 - Calibrated | Calibrated
Voltage | 725 | Data Acquisition Unit | Wescan | 23 February, 2023 | 23 February, 2024 | Delta | Equip. Storage Cab. 2 - Calibrated | Calibrated
Pressure | 726 | Digital Manometer | Wescan | 28 January, 2024 | 28 January, 2025 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Force | 729 | Digital Force Gauge 1000 N | Wescan | 05 July, 2023 | 05 July, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Leakage Current | 732 | Leakage Current Tester | Wescan | 28 July, 2023 | 28 July, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
| 749 | ESD Simulator | Tradeport | 09 February, 2024 | 09 February, 2025 | Delta | EMC Test Rack | Calibrated
Pressure | 785 | Digital Pressure Gauge | Wescan Calibration | 25 July, 2022 | 25 July, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Flow Rate | 792 | Gas Meter | Dick Munns | 30 June, 2023 | 30 June, 2024 | Delta | Fire Testing Lab | Calibrated
| 797 | Magnehelic | Trescal | 02 February, 2022 | 02 February, 2023 | Las Vegas | Other | Calibrated
| 798 | Stopwatch | Precision Metrology | 21 November, 2021 | 21 November, 2022 | Las Vegas | LV-Storage 2 | Calibrated
| 799 | Air Flow Meter | Precision Metrology | 29 April, 2022 | 29 April, 2023 | Las Vegas | Other | Calibrated
| 828 | Graduating Cylinder |  | 22 February, 2021 |  | Indianapolis | Other | Calibrated
| 829 | Graduating Cylinder |  | 22 February, 2021 |  | Indianapolis | Other | Calibrated
| 830 | Graduating Cylinder | Precision Metrology | 22 February, 2021 |  | Indianapolis | Other | Calibrated
| 831 | Graduating Cylinder | Precision Metrology | 22 February, 2021 |  | Indianapolis | Other | Calibrated
| 833 | Hot Wire Anemometer | Trescal | 20 November, 2021 | 20 November, 2022 | Las Vegas | LV-Storage 2 | Calibrated
| 857 | IP Test Probe Kit | Precision Metrology | 05 February, 2022 | 05 February, 2023 | Las Vegas | LV-Storage 2 | Calibrated
Length | 860 | Gage Blocks | Northern Gauge | 28 March, 2024 | 28 March, 2027 | Delta | Calibration Lab | Calibrated
| 861 | Digital Pressure Gauge | Precision Metrology | 02 February, 2022 | 02 February, 2023 | Las Vegas | LV-Storage 1 | Calibrated
| 862 | Digital Pressure Gauge | Trescal | 02 February, 2022 | 02 February, 2023 | Las Vegas | LV-Storage 1 | Calibrated
| 869 | Digital Protractor | Trescal | 14 February, 2022 | 14 February, 2023 | Las Vegas | LV-Storage 2 | Calibrated
Acceleration | 87 | Data Acquisition Unit HP 34970A | Trescal | 15 November, 2021 | 15 November, 2022 | Las Vegas | LV-Storage 1 | Calibrated
| 876 | Electrical Safety Tester | Precision Metrology | 07 January, 2022 | 07 January, 2023 | Indianapolis | Electrical Lab | Calibrated
| 879 | Multi-Meter | Precision Metrology | 16 February, 2021 | 16 February, 2022 | Las Vegas | LV-Storage 1 | Calibrated
Resistor | 883 | Insulation Resistance Tester | Miller Instruments | 17 August, 2023 | 17 August, 2024 | Delta | Equip. Storage Cab. 2 - Calibrated | Calibrated
| 884 | Digital Pressure Gauge | Trescal | 02 February, 2022 | 02 February, 2023 | Las Vegas | LV-Storage 2 | Calibrated
| 887 | IR Thermometer | Dick Munns Company | 29 March, 2021 | 29 March, 2022 | Las Vegas | LV-Storage 2 | Calibrated
| 890 | Flue Gas Analyzer | Dick Munns Company | 29 March, 2021 | 29 March, 2022 | Las Vegas | LV-Storage 2 | Calibrated
Humidity | 891 | Humidity and Temperature Data Logger | Precision Metrology | 09 April, 2021 | 09 April, 2022 | Las Vegas | LV-Storage 1 | Calibrated
| 892 | O2 Analyzer | Dick Munns Company | 20 August, 2021 | 20 August, 2022 | Las Vegas | LV-Storage 1 | Calibrated
| 894 | Accelerometer | Precision Metrology | 04 November, 2020 | 04 November, 2021 | Las Vegas | Environmental Lab | Calibrated
| 895 | Accelerometer | Precision Metrology | 04 November, 2020 | 04 November, 2021 | Las Vegas | Environmental Lab | Calibrated
| 896 | Accelerometer | Precision Metrology | 04 November, 2020 | 04 November, 2021 | Las Vegas | Environmental Lab | Calibrated
| 902 | Impact Steel Test Ball 51 mm, 535 g | Miller Instruments | 26 August, 2022 | 26 August, 2025 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
PPM/ Concentration | 905 | Oxygen Gas analyzer | Dick Munns Company | 13 July, 2023 | 13 July, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
Voltage | 906 | Data Logger for Temp Test | Miller Instruments | 19 June, 2023 | 19 June, 2024 | Delta | Equip. Storage Cab. 2 - Calibrated | Calibrated
| 907 | Capacitive Coupling Clamp | AMETEK | 11 April, 2023 | 11 April, 2024 | Delta | EMC Test Rack | Calibrated
| 911 | Compact NX5 | AMETEK | 30 April, 2024 | 30 April, 2025 | Richmond | EMC Test Rack | Calibrated
Temperature | 918 | Environmental Logger | Wescan | 21 November, 2023 | 21 November, 2024 | Delta | EMC Test Rack | Calibrated
| 920 | LISN | Precision Laboratory INC. | 23 July, 2023 | 23 July, 2024 | Richmond | EMC Test Rack | Calibrated
| 921 | AC Milligauss Meter | Keysight | 10 January, 2023 | 10 January, 2024 | Delta | EMC Cabinet 1 | Calibrated
| 925 | Vibration Controller | Crystal Instruments | 10 October, 2023 | 10 October, 2024 | Delta | Environmental Lab | Calibrated
Force | 939 | Force Gauge | Wescan | 03 May, 2023 | 03 May, 2024 | Delta | SI Inspector | Calibrated
| 941A | LISN | Precision Laboratory INC. | 27 February, 2023 | 27 February, 2025 | Delta | EMC Cabinet 1 | Calibrated
| 941B | LISN | Precision Laboratory INC. | 27 February, 2023 | 27 February, 2025 | Delta | EMC Cabinet 1 | Calibrated
| 946 | Radiated Field Probe 2MHz to 18GHz | Amplifier Research | 15 January, 2024 | 15 January, 2025 | Delta | EMC Test Rack | Calibrated
| 948 | RF Signal Generator 100kHz to 22GHz | Marsh Metrology | 07 September, 2023 | 07 September, 2025 | Richmond | EMC Test Rack | Calibrated
Current | 958 | Power Analyzer Harmonics and Flicker | Transcat | 19 March, 2024 | 19 March, 2025 | Delta | EMC Test Rack | Calibrated
| 968 | Signal conditioner with 5 kHz low pass filter | Kistler | 02 November, 2023 | 02 November, 2024 | Delta |  | Calibrated
Voltage | 973 | Voltage data logger | Wescan | 29 August, 2023 | 29 August, 2024 | Delta | Equip. Storage Cab. 2 - Calibrated | Calibrated
Temperature | 974 | Temperature data logger | Wescan | 10 August, 2023 | 10 August, 2024 | Delta | Equip. Storage Cab. 1 - Calibrated | Calibrated
| 996 | RF Antenna - Log Periodical Medium 200-3000MHz | Keysight | 05 April, 2021 | 05 April, 2023 | Richmond | EMC Test Rack | Calibrated

## Photos
Photos
Lab can submit relevant photographs with proper labeling as an alternative.
Test Method:
Test Method Title:
Exclusions:
Photo No. 1 - | Photo No. 2 -
Photo No. 3 - | Photo No. 4 -

## Standards
Field of Testing | Standards/Test methods with Titles | Limitations/Exclusions | Project Holder | Reviewer
Electrical - Laboratory | IEC/EN/KN/UL/CSA-C22.2 No. 61010-1 - Safety Requirements for Electrical Equipment For Measurement, Control, and Laboratory Use; Part 1: General Requirements | None | Mathew/Marin/Alvin | Kavinder/Andy
Electrical - ITAV | IEC/EN/KN/UL/CSA-C22.2 No. 62368-1 - Audio/video, information and communication technology equipment - Part 1: Safety requirements | None | Mathew/Marin/Alvin | Kavinder/Andy
Electrical - Medical | IEC/EN/KN/UL/CSA-C22.2 No. 60601-1 Medical Electrical Equipment, Part 1: General Requirements for Safety | None | Constantine | Kavinder/Andy
| IEC/EN/KN/UL/CSA-C22.2 No. 60601-1-6 | None | Constantine | Kavinder/Andy
| IEC/EN/KN/UL/CSA-C22.2 No. 60601-1-8 | None | Constantine | Kavinder/Andy
| ANSI/AAMI ES60601-1 Medical Electrical Equipment, Part 1: General | None | Constantine | Kavinder/Andy
Electrical - Household Appliances | IEC/EN/KN/UL/CSA-C22.2 No. 60335-1 Standard for Safety of Household and Similar Appliances, Part 1: General Requirements | None | Mathew/Marin/Alvin | Kavinder/Andy
Electrical - Enclosure | IEC/EN/KN/UL/CSA-C22.2 No. 60529 Degrees of protection provided by enclosures (IP Code) | None | Mathew/Marin/Alvin | Kavinder/Andy
Electrical - Hazardous Location | IEC/EN/KN/UL/CSA-C22.2 No. 60079-0 Explosive Atmospheres - Part 0: Equipment - General Requirements | None | Saeid/Marin | Kavinder/Marin
Electrical - Hazardous Location | IEC/EN/KN/UL/CSA-C22.2 No. 60079-1 Standard for Explosive Atmospheres - Part 1: Equipment Protection by Flameproof Enclosures | None | Saeid/Marin | Kavinder/Marin
Electrical - Hazardous Location | IEC/EN/KN/UL/CSA-C22.2 No. 60079-7 Explosive Atmospheres - Part 7: Equipment protection by increased safety 'e' | None | Saeid/Marin | Kavinder/Marin
Electrical - Hazardous Location | IEC/EN/KN/UL/CSA-C22.2 No. 60079-11 Explosive Atmospheres - Part 11: Equipment Protection by Intrinsic Safety | None | Saeid/Marin | Kavinder/Marin
Electrical - Hazardous Location | IEC/EN/KN/UL/CSA-C22.2 No. 60079-18 Explosive Atmospheres - Part 18: Equipment Protection by Encapsulation | None | Saeid/Marin | Kavinder/Marin
Electrical - Hazardous Location | IEC/EN/KN/UL/CSA-C22.2 No. 60079-30-1 Explosive Atmospheres - Part 30-1: Electrical Resistance Trace Heating - General and Testing Requirements | None | Saeid/Marin | Kavinder/Marin
Electrical - Hazardous Location | IEC/EN/KN/UL/CSA-C22.2 No. 60079-46 Recommended Practice for Explosive Atmospheres - Part 46: Equipment Assemblies | None | Saeid/Marin | Kavinder/Marin
Electrical - Hazardous Location | IEC/EN/KN/UL/CSA-C22.2 No. 60079-31 Explosive atmospheres - Part 31: Equipment dust ignition protection by enclosure "t" | None | Saeid/Marin | Kavinder/Marin
Electrical - Household Control | IEC/EN/KN/UL/CSA-C22.2 No. 60730-1 Automatic Electrical Controls for Household and Similar Use - Part 1: General Requirements | None | Mathew/Marin/Alvin | Kavinder/Andy
Electrical - Household Control | IEC/EN/KN/UL/CSA-C22.2 No. 60730-2-5/ANSI Z21.20 Automatic Electrical Controls - Part 2-5: Particular Requirements for Automatic Electrical Burner Control Systems | None | Mathew/Marin/Alvin | Kavinder/Andy
Electrical - Lighting | UL 1598/CSA-C22.2 No. 250.0 - Luminaires | None | Mathew/Remar/Alvin | Kavinder/Andy
Electrical - Lighting | UL 8750 Light Emitting Diode (LED) Equipment for Use in Lighting Products | None | Mathew/Remar/Alvin | Kavinder/Andy
Electrical - Lighting | CSA-C22.2 No. 250.13 Light emitting diode (LED) equipment for lighting applications | None | Mathew/Remar/Alvin | Kavinder/Andy
Electrical - Lighting | CSA-C22.2 No. 250.5/UL 1576 Flashlights and lanterns (Binational standard with UL 1576) | None | Mathew/Remar/Alvin | Kavinder/Andy
Electrical - Lighting | CSA-C22.2 No. 250.4 Portable luminaires | None | Mathew/Remar/Alvin | Kavinder/Andy
Electrical - Lighting | CSA-C22.2 No. 250.7 Extra-low-voltage landscape lighting systems | None | Mathew/Remar/Alvin | Kavinder/Andy
Electrical - Lighting | UL 153 Portable Electric Luminaires | None | Mathew/Remar/Alvin | Kavinder/Andy
Electrical - Lighting | UL 1576 Flashlights and Lanterns | None | Mathew/Remar/Alvin | Kavinder/Andy
Electrical - Heat tracing | CSA-C22.2 No. 130 Requirements for electrical resistance trace heating and heating device sets | None | Saeid | Kavinder/Andy
Electrical - Heat Tracing | UL 515 - Standard for Electrical Resistance Trace Heating for Commercial Applications | None | Saeid | Kavinder/Andy
Electrical - Heat Tracing | UL 515A UL LLC Outline of Investigation for Electrical Resistance Trace Heating and Associated Controls for Use In Sprinkler and Standpipe Systems | None | Saeid | Kavinder/Andy
Electrical - Household Appliances | CSA-C22.2 No. 218.1 Spas, hot tubs and associated equipment | None | Mathew/Remar/Alvin | Kavinder/Andy
Electrical - Household Appliances | UL 1563 Electric Spas, Equipment Assemblies, and Associated Equipment | None | Mathew/Remar/Alvin | Kavinder/Andy
Electrical - Household Appliances | CSA-C22.2 No. 218.2 Hydromassage bathtub appliances | None | Mathew/Remar/Alvin | Kavinder/Andy
Electrical - Household Appliances | UL 1795 - Standard for Hydromassage Bathtubs | None | Mathew/Remar/Alvin | Kavinder/Andy
Electrical - Hazardous Location | CSA-C22.2 No. 213/UL 121201 | None | Mathew/Remar/Alvin | Kavinder/Marin
Electrical - Industrial | CSA-C22.2 No. 100 Motors and generators | None | Mathew/Remar | Kavinder/Andy
Electrical - Industrial | UL 1004-1 Rotating Electrical Machines - General Requirements | None | Mathew/Remar | Kavinder/Andy
Electrical - Industrial | UL 1004-4 Electric Generators | None | Mathew/Remar | Kavinder/Andy
Electrical - Industrial | CSA-C22.2 No. 286 Industrial control panels and assemblies | None | Mathew/Remar | Kavinder/Andy
Electrical - Industrial | UL 508A - Industrial Control Panels | None | Mathew/Remar | Kavinder/Andy
Electrical - Enclosure | UL 50E/CSA-C22.2 No. 94.2 Enclosures for Electrical Equipment, Environmental Considerations | None | Mathew/Remar | Kavinder/Andy
Electrical - Enclosure | UL 50/CSA-C22.2 No. 94.1 Enclosures for Electrical Equipment, Non-Environmental Considerations | None | Mathew/Remar | Kavinder/Andy
Electrical | IEC 60092-504 Electrical installations in ships - Part 504: Automation, control and instrumentation | None | Mathew/Remar | Kavinder/Andy
Environmental | MIL-STD-810 - Minus vibration | Vibration | Mathew/Remar | Kavinder/Andy
Environmental -Marine | IEC 60945 - Maritime navigation and radiocommunication equipment and systems - General requirements - Methods of testing and required test results | EMC & Vibration | Mathew/Remar | Kavinder/Andy
Environmental -Marine | ABS - Part 4 "Vessel Systems and Machinery" | EMC & Vibration | Mathew/Remar | Kavinder/Andy
Environmental -Marine | BV - Pt C, Ch 3, Sec 6 | EMC & Vibration | Mathew/Remar | Kavinder/Andy
Environmental -Marine | China Classification Society (CCS) - Guidelines for type Approval Test of Electric and Electronic products | EMC & Vibration | Mathew/Remar | Kavinder/Andy
Environmental -Marine | ClassNK - Guildance for the Approval and Type Approval of Materials and Equipment for Marine Use (Part 7, Chapter 1) | EMC & Vibration | Mathew/Remar | Kavinder/Andy
Environmental -Marine | DNV-CP-0339 Environmental test specification for electrical, electronic and programmable equipment and systems | EMC & Vibration | Mathew/Remar | Kavinder/Andy
Environmental -Marine | Germanischer Lloyd, VI, Rules for Classification and Construction Additional Rules Guidelines, 7 Guidelines for the Performance of Type Approvals | EMC & Vibration | Mathew/Remar | Kavinder/Andy
Environmental -Marine | IACS - URE-10Rev8 Test Spepcification for Type Approval | EMC & Vibration | Mathew/Remar | Kavinder/Andy
Environmental -Marine | Russian Maritime Register of Shipping - Rules for the Classification and Construction of Sea-Going Ships, Part XI, Electrical Equipment | EMC & Vibration | Mathew/Remar | Kavinder/Andy
Environmental -Marine | KR Korean Registered - Guidance for Approval of Manufacturing Process and Type Approval, Etc. | EMC & Vibration | Mathew/Remar | Kavinder/Andy
Environmental -Marine | Indian Register of Shipping - Type Approval of Electrical Equipment used for Control, Monitoring, Alarm and Protection Systems for Use in Ships | EMC & Vibration | Mathew/Remar | Kavinder/Andy
Environmental -Marine | Lloyd's Register Type Approval System Test Specification Number 1 - performance and Environmental Test Specification for the following Environmentally Tested Products used in Marine Applications | EMC & Vibration | Mathew/Remar | Kavinder/Andy
Environmental -Marine | PRS - Pubmication 11/P - Environmental Tests on Marine Equipment | EMC & Vibration | Mathew/Remar | Kavinder/Andy
Environmental -Marine | RINA - Pt C, Ch 3, Sec 6 | EMC & Vibration | Mathew/Remar | Kavinder/Andy
Environmental -Marine | USCG - Subchapter J- Electrical Engineering | EMC & Vibration | Mathew/Remar | Kavinder/Andy
Environmental -Marine | IEC 60068-2-2 "Test Bb and Be" | None | Mathew/Remar | Kavinder/Andy
Environmental -Marine | IEC 600682-30 - test Db | None | Mathew/Remar | Kavinder/Andy
Environmental -Marine | IEC 60092-504 - Incline | None | Mathew/Remar | Kavinder/Andy
Environmental -Marine | IEC 60068-2-1 - Cold | None | Mathew/Remar | Kavinder/Andy
Environmental -Marine | IEC 60068-2-52 - Salt Mist | None | Mathew/Remar | Kavinder/Andy
Environmental -Marine | IEC 60092-101 - Flame Retardant | None | Mathew/Remar | Kavinder/Andy
Environmental -Marine | IEC 60695-11-5 - Flame Retardant | None | Mathew/Remar | Kavinder/Andy
Electrical - Hazardous Location | UL1500 – Standard for Ignition-Protection Test for Marine Products | None | Mathew/Remar | Kavinder/Andy
Environmental -Marine | ABYC S-31 Environmental Considerations For Electronic Systems and Components Installed on Boats | None | Mathew/Remar | Kavinder/Andy
Electrical - Hazardous Location | ISO 8846 - Small craft – Electrical devices – Protection against ignition of surrounding flammable gases | None | Mathew/Remar | Kavinder/Andy
Electrical - Hazardous Location | SAE J1171 - – External Ignition Protection of Marine Electrical Devices | None | Mathew/Remar | Kavinder/Andy